**ALARIS DATASET REVISION**

**12/18/2015**

**CHANGES:**

**Drug Change \_\_\_\_\_\_\_\_ Profiles**

Tirofiban Remove STEMI/NSTEMI therapy tabs CC, IC, MS

Tirofiban Update default bolus to 25 mcg/kg CC, IC, MS

Tirofiban Update default infusion to 0.15 mcg/kg/min CC, IC, MS

Tirofiban (Renal) Update default infusion to 0.075 mcg/kg/min CC, IC, MS

Integrilin Add bolus option from 100 ml infusion bottle CC, IC, MS

Dopamine Add 600 mcg/ml concentration SCN

CC = Critical Care

IC = Intermediate Care

MS = Medical/Surgical

OB = Obstetrics

ONC = Oncology

SCN = Special Care Nursery

PED1 = Pediatric 5 Kg to 19.9 Kg

PED2 = Pediatric 20 Kg to 39.9 Kg

PED3 = Pediatric greater than 40 Kg